- V úvodu ve stručném popisu předmětu VZ v bodu (iv) je uveden požadavek na "starting kit necessary for initial experiments ". Co vše má být součásti tohoto kitu?

Odpověď: Sada konektorů a hadiček pro připojení systému k mikrofluidnímu
rozhraní čipů, pro připojení k senzorům průtoku / tlaku apod.
Sada nádob, vialek nebo zkumavek s konektorem a hadičkou pro
připojení k mikrofluidnímu rozhraní.

- Máte již k dispozici příslušné "Microfluidic device - Chips" skleněné mikrofluidní segmenty, které se připojí na předmět VZ ?

Odpověď: 
Ano. Máme čipy a mikrofluidní rozhraní (držák), pomocí kterého se naše čipy připojí ke kupovanému systému. Konektory, které aktuálně používáme, jsou: F-333NX - NanoTight™ PEEK Headless, Short, 10-32 Coned, for 1/16" OD 
https://www.idex-hs.com/nanotighttm-peek-headless-short-10-32-coned-for-1-16-od.html?optionvalue=4379).
 Systémy (čipy), které momentálně používáme, jsou parametry podobné těm, které prodává společnost Ibid. Proto je Ibid uváděn jako referenční firma s referenčním systémem. Aplikačně jsou naše čipy zaměřeny hlavně na experimentální práci s buněčnými kulturami.

- Plánujete systém v budoucnu rozšířit o další příslušenství, pokud ano o jaké?

Odpověď: Může se jednat o rozšíření jednotlivých slotů systému, o senzory
průtoku / tlaku pro přesnou kontrolu průtoku v systému, o různé
varianty přepínačů / multiplexerů, debubblery apod., které nám umožní
provádět zpřesnění, význam spolehlivosti a složitější varianty
experimentů. Některé z uvedených už může obsahovat samotná nabídka
systému. Do budoucna bude záležet na kvalitě a spolehlivosti systému a na
type experimentů, které budeme provádět.

- V posledním odstavci zadávací dokumentace se uvádí jako referenční systém  IBIDI GmbH. Máte již od této firmy nějaké vybavení a potřebujete jen rozšířit stávající systém nebo hodláte vybudovat nový systém?

Odpověď: Ne, od Ibid nemáme žádný systém ani žádné zařízení a pravděpodobně
nic kupovat nebudeme. Sami vyvíjíme a budeme vyvíjet různé varianty
systému. Systémy budou primárně zaměřeny na experimenty s buňkami a
buněčných kulturách. Proto potřebujeme spolehlivé řešení pro
dávkování kapalin do námi vyvíjených mikrofluidních čipů.

- Pokud jíž máte vybavení od firmy IBIDI, má být předmět dodávky kompatibilní s Vašim stávajícím systémem včetně ovládacího software? Pokud ano, jaký software nyní používáte?

Odpověď: žádné vybavení od firmy Ibid nemáme. Jelikož žádné zařízení od Ibid
nemáme, pravděpodobně není nutně odpovídat na druhu část otázky.

English version:

• At the beginning of the brief description of the subject VZ in paragraph (iv) is a requirement for "starting kit Necessary for initial experiments." What all this has to be part of this kit?

Answer: A set of connectors and tubing to connect the system to mikrofluidnímu

interface chip, for connection to the flow sensors / pressure etc.

Set containers, vials or tubes with connector and tubing for

mikrofluidnímu connection to the interface.

• Do you already have a corresponding "Microfluidic device - Chips" glass microfluidic segments, which are connected to the subject VZ?

Answer:

Yes. We microfluidic chips and interfaces (holder), by which the chips attached to kupovanému system. Connectors that currently use are: F-333NX - NanoTight PEEK ™ Headless, Short, 10-32 coned, for 1/16 "OD

https://www.idex-hs.com/nanotighttm-peek-headless-short-10-32-coned-for-1-16-od.html?optionvalue=4379).

Systems (chips) are currently using, the parameters are similar to those sold by the company Ibid. That is why Ibid cited as a reference company with reference system. Application Our chips are mainly focused on experimental work with cell cultures.

• Are you planning to expand the system in the future with other devices, and if so what kind?

Answer: It may be an extension of each slot system of sensors

flow / pressure for accurate flow control system, different

variants switches / multiplexers, debubblery etc., which will enable us to

perform accurate, reliable and advanced options

experiments. Some of these may already contain the menu itself

system. In the future it will depend on the quality and reliability of the system and

type of experiments that will be performed.

• In the last paragraph of the tender dossier is referred to as a reference system Ibid GmbH. Do you already have from this company some equipment and you only need to extend the current system or plan to build a new system?

Answer: No, since Ibid have no system and no equipment and likely

We will not buy anything. Sami develop and we will develop different variants

system. The systems will be primarily focused on experiments with cells and

cell cultures. Therefore, we need a reliable solution for

dosing of liquids in microfluidic chip developed by us.

• If you have equipment from ibid, should be the subject of supply is compatible with your existing systems including control software? If so, what software you currently use?

Answer: no equipment from the company we Ibid. Since no device since Ibid

unfortunately, may not necessarily answer the second part of the question.